## Assumptions
South Georgian Bay MSC — Water Utility: Model Assumptions
Legend: BLUE = editable input · YELLOW = key assumption to validate · BLACK = calculated. Edit only column B.
VOLUME & GROWTH
Base billed volume, 2027 (m³/yr) | 7200000 | Barker plant delivered ~7.2M m³/yr (Town of Collingwood 2024 Annual Summary Report).
Organic growth rate (%/yr) | 1.5% | ASSUMPTION — regional population growth.
Nottawa village volume (m³/yr) | 100000 | ASSUMPTION — existing residents who connect (~2028).
Nottawa village online year | 2028 | Batteaux spur ~2027–28.
Nottawa — new homes (count) | 500 | Your input — the subdivision.
Water use per home (m³/yr) | 400 | ASSUMPTION — standard planning rate.
Nottawa — 500 homes online year | 2032 | Your input — 500 homes come on in 2032.
TBM full incremental volume (m³/yr) | 2500000 | ASSUMPTION — TBM full reserved ~10,000 m³/day net of current draw.
TBM ramp start year | 2028 | Physical draw ramp only. Under a signed take-or-pay commitment, billing is on RESERVED capacity from commissioning (see toggle B16), not on the ramp.
TBM full onboard year | 2030 | Physical draw ramp only — see note on B14 and the commitment toggle B16.
TBM signed capacity commitment (1 = signed, 0 = not) | 0 | NO FIRM COMMITMENT, NO SHOVEL. 0 removes the TBM connection, its debt AND its revenue entirely — the Simcoe County system stands alone. 1 = TBM has formally committed (take-or-pay), which turns on the trunk, its 40-yr debt, and its reserved-capacity revenue together.
TARIFF & REVENUE
Wholesale tariff, 2027 ($/m³) | 1.95 | ASSUMPTION — ~80% of ~$2.45 all-in. Real tariff = cost-of-service study (Ch.4).
Tariff escalation — first 3 years (Collingwood's approved plan) (%/yr) | 5% | Residents were ALREADY going to pay this. Collingwood's approved rate plan rises ~5–5.5%/yr; the MSC adopts that same 3-year path (2027→2030), then flattens. Not an MSC-imposed increase — the status-quo increase, captured.
Tariff escalation — steady-state, year 4+ (%/yr) | 2% | Applies from 2030 on, after the 3-year ramp above.
Billing realization (%) | 100% | New Tecumseth now on the standard tariff (see New Tecumseth tab), so 100% is justified. Lower only for non-revenue water if desired.
OPERATING COSTS (annual) — plant O&M anchored to Collingwood actuals
Plant O&M — labour ($) | 1000000 | Operators, lab, supervision. Automated plant runs lean. Anchor: Collingwood 2024 Water Treatment = $2.12M all-in.
Plant O&M — maintenance ($) | 450000 | Parts, contracted services, equipment.
Plant O&M — other fixed ($) | 250000 | SCADA/software, insurance, building.
Plant — chemicals & power ($/m³) | 0.055 | Variable, scales with volume.
Transmission, boosters & pumping energy ($) | 700000 | 57 km trunk + boosters + energy to pump the west leg up to TBM (~$200k, grows with TBM). MSC operates; NT cost-shares capital.
Board — 10 × $150k ($) | 1500000 | Your input.
Board allocation to water (%) | 50% | ASSUMED 50% shared with wastewater.
CEO ($) | 500000 | Your input.
CFO + CIO + COO — 3 × $400k ($) | 1200000 | Your input.
Senior engineers — 10 × $300k ($) | 3000000 | Your input.
Management subtotal ($) | 4700000 | Calculated.
Management allocation to water (%) | 50% | Your input — "/2 shared with wastewater."
External engineering ($) | 500000 | Your input.
External eng allocation to water (%) | 100% | ASSUMED 100%.
Overhead & other ($) | 1000000 | Your input.
Overhead allocation to water (%) | 50% | Your input — "/2."
Opex escalation (%/yr) | 2% | ASSUMPTION.
CAPITAL & FINANCING
Plant purchase ($) | 120000000 | Your input — buy-out of BOTH towns' invested capital: New Tecumseth $75.6M + Collingwood $44.4M ≈ $120M. Original 1998 plant transfers for a nominal $1.
Nottawa pipe ($) | 10000000 | Your input — assumed to cover the Batteaux connection, a village reservoir and a booster/pressure station (Ch.2 gold-plated build ~$20M; basic ~$4M).
Nottawa capital online year | 2028 | ASSUMPTION.
Debt interest rate (%) | 4.5% | ASSUMPTION.
Amortization (years) | 40 | Per plan — 40-year financing.
Annuity factor (calc) | 0.054343 | Level debt-service factor.
Plant debt start year (commissioning) | 2029 | Construction interest capitalized; acquisition debt service begins at commissioning.
RECOMMENDED ADDITIONS (memo — not in base surplus)
Capital renewal reserve ($/yr) | 1000000 | RECOMMENDED — sinking fund.
TBM — transmission main length (km) | 11 | ~11 km, Barker plant to Mountain Road boundary (Hwy 26).
TBM — cost per metre ($/m) | 2500 | ~500 mm main, highway corridor. Range $2,000-3,500.
TBM — corridor works (% of pipe cost) | 45% | Trench, restoration, mobilization — the shareable part.
TBM — twin with wastewater? (1=yes,0=no) | 1 | Thornbury WW plant to be on the same Hwy 26 trench; water pays half the corridor.
TBM — water pipe cost ($) | 21312500 | Computed = pipe + water share of corridor.
TBM — transfer pumping station ($) | 10000000 | Water-only (not shared with wastewater).
TBM — terminal storage reservoir ($) | 9000000 | STORAGE IN — reliability buffer; answers the objection that sank the Stayner connection.
TBM — engineering + contingency (%) | 25% | Applied to the works above.
TBM connection capex — total ($) | 50390625 | Computed total — feeds the model (row 40).
TBM connection online year | 2029 | ASSUMPTION — ahead of 2030 onboarding.
DEVELOPMENT CHARGES
Regional-capacity DC per connection — MSC portion ($) | 4600 | The REGIONAL-CAPACITY portion of the water DC only — plant capacity + the regional transmission backbone the MSC owns and builds. The LOCAL trunk and distribution portion of the DC stays with the town, which builds those local works. Benchmark for the MSC portion: Collingwood water-treatment DC ~$4,641/home after the provincial grant (Ch.2).
SUPPORT-FUNCTIONS SOURCING (scenario) — HR, IT, procurement, finance-ops
Support functions (1 = in-house · 2 = operator-provided) | 2 | Toggle. 2 = the operator provides shared services; in-house overhead and the CIO role fold into one at-cost fee.
Shared-services fee — operator, AT COST ($/yr, whole corporation) | 1200000 | HR, IT, procurement, finance-ops, back office. Provided AT COST — no operator margin (per Ron). Replaces in-house Overhead ($1.0M) + CIO ($0.4M) ≈ $1.4M; the ~$0.2M gap is the operator's scale, passed through.
CIO / IT leadership stripped from management when contracted ($) | 400000 | The CIO (1 of the 3 C-suite roles) whose function moves to the operator's shared services when contracted — removed to avoid double-counting IT.
Overhead & support — effective ($) | 1200000 | In-house overhead, or the at-cost shared-services fee when contracted. Feeds the overhead line, allocated 50/50 water/wastewater.
Management subtotal — effective ($) | 4300000 | Drops the CIO when support is contracted.

## 10-Year Model
South Georgian Bay MSC — Water Utility: 14-Year Cost & Revenue Model 2027–2040 ($ nominal)
Water-side only; corporate costs allocated per Assumptions. Green = linked to Assumptions.
Fiscal year |  | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
REVENUE | bar: 2027 to 2036
Organic base volume | m³ | 7200000 | 7308000 | 7417620 | 7528884.3 | 7641817.5645 | 7756444.828 | 7872791.5004 | 7990883.3729 | 8110746.6235 | 8232407.8228 | 8355893.9402 | 8481232.3493 | 8608450.8345 | 8737577.597
Nottawa (village + 500 homes 2032) | m³ | 0 | 100000 | 100000 | 100000 | 100000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000
TBM reserved capacity (take-or-pay, if committed) | m³ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total billed volume | m³ | 7200000 | 7408000 | 7517620 | 7628884.3 | 7741817.5645 | 8056444.828 | 8172791.5004 | 8290883.3729 | 8410746.6235 | 8532407.8228 | 8655893.9402 | 8781232.3493 | 8908450.8345 | 9037577.597
Wholesale tariff | $/m³ | 1.95 | 2.0475 | 2.1499 | 2.2574 | 2.3025 | 2.3486 | 2.3955 | 2.4434 | 2.4923 | 2.5422 | 2.593 | 2.6449 | 2.6978 | 2.7517
Billing realization | % | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Total revenue | $ | 14040000 | 15167880 | 16161943.2975 | 17221205.0162 | 17825659.7791 | 18921096.0091 | 19578230.7782 | 20258346.8063 | 20962251.0198 | 21690778.7435 | 22444794.701 | 23225194.0512 | 24032903.4605 | 24868882.213
OPERATING COSTS | bar: 2027 to 2036
Plant O&M — labour | $ | 1000000 | 1020000 | 1040400 | 1061208 | 1082432.16 | 1104080.8032 | 1126162.4193 | 1148685.6676 | 1171659.381 | 1195092.5686 | 1218994.42 | 1243374.3084 | 1268241.7946 | 1293606.6305
Plant O&M — maintenance | $ | 450000 | 459000 | 468180 | 477543.6 | 487094.472 | 496836.3614 | 506773.0887 | 516908.5504 | 527246.7215 | 537791.6559 | 548547.489 | 559518.4388 | 570708.8076 | 582122.9837
Plant O&M — other fixed | $ | 250000 | 255000 | 260100 | 265302 | 270608.04 | 276020.2008 | 281540.6048 | 287171.4169 | 292914.8453 | 298773.1422 | 304748.605 | 310843.5771 | 317060.4486 | 323401.6576
Plant — chemicals & power (var) | $ | 396000 | 415588.8 | 430173.2516 | 445270.8178 | 460899.577 | 489223.1342 | 506213.9857 | 523799.0396 | 541999.16 | 560835.945 | 580331.7527 | 600509.7285 | 621393.832 | 643008.8667
Transmission, boosters & pumping | $ | 700000 | 714000 | 728280 | 742845.6 | 757702.512 | 772856.5622 | 788313.6935 | 804079.9674 | 820161.5667 | 836564.798 | 853296.094 | 870362.0159 | 887769.2562 | 905524.6413
Board (water share) | $ | 750000 | 765000 | 780300 | 795906 | 811824.12 | 828060.6024 | 844621.8144 | 861514.2507 | 878744.5358 | 896319.4265 | 914245.815 | 932530.7313 | 951181.3459 | 970204.9728
Management (water share) | $ | 2150000 | 2193000 | 2236860 | 2281597.2 | 2327229.144 | 2373773.7269 | 2421249.2014 | 2469674.1854 | 2519067.6692 | 2569449.0225 | 2620838.003 | 2673254.763 | 2726719.8583 | 2781254.2555
External engineering | $ | 500000 | 510000 | 520200 | 530604 | 541216.08 | 552040.4016 | 563081.2096 | 574342.8338 | 585829.6905 | 597546.2843 | 609497.21 | 621687.1542 | 634120.8973 | 646803.3152
Overhead & support (water share) | $ | 600000 | 612000 | 624240 | 636724.8 | 649459.296 | 662448.4819 | 675697.4516 | 689211.4006 | 702995.6286 | 717055.5412 | 731396.652 | 746024.585 | 760945.0767 | 776163.9783
Total operating cost | $ | 6796000 | 6943588.8 | 7088733.2516 | 7237002.0178 | 7388465.401 | 7555340.2747 | 7713653.4689 | 7875387.3126 | 8040619.1985 | 8209428.3842 | 8381896.0407 | 8558105.3022 | 8738141.3172 | 8922091.3016
DEBT SERVICE (40-yr) | bar: 2027 to 2036
Plant purchase debt | $ | 0 | 0 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932 | 6521177.5932
Nottawa pipe debt | $ | 0 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661 | 543431.4661
Total debt service | $ | 0 | 543431.4661 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592 | 7064609.0592
SURPLUS | bar: 2027 to 2036
Operating surplus (Rev − Opex) | $ | 7244000 | 8224291.2 | 9073210.0459 | 9984202.9984 | 10437194.3781 | 11365755.7344 | 11864577.3093 | 12382959.4937 | 12921631.8213 | 13481350.3593 | 14062898.6603 | 14667088.7491 | 15294762.1433 | 15946790.9115
Net surplus after debt | $ | 7244000 | 7680859.7339 | 2008600.9866 | 2919593.9392 | 3372585.3188 | 4301146.6752 | 4799968.25 | 5318350.4345 | 5857022.7621 | 6416741.3001 | 6998289.6011 | 7602479.6898 | 8230153.084 | 8882181.8522
Cumulative net surplus | $ | 7244000 | 14924859.7339 | 16933460.7205 | 19853054.6597 | 23225639.9785 | 27526786.6537 | 32326754.9037 | 37645105.3382 | 43502128.1003 | 49918869.4003 | 56917159.0014 | 64519638.6913 | 72749791.7753 | 81631973.6275
Unit cost (opex+debt)/vol | $/m³ | 0.94389 | 1.0107 | 1.8827 | 1.8747 | 1.8669 | 1.8147 | 1.8082 | 1.802 | 1.7959 | 1.7901 | 1.7845 | 1.7791 | 1.7739 | 1.7689
RECOMMENDED ADDITIONS (memo) | bar: 2027 to 2036
Capital renewal reserve | $ | 1000000 | 1020000 | 1040400 | 1061208 | 1082432.16 | 1104080.8032 | 1126162.4193 | 1148685.6676 | 1171659.381 | 1195092.5686 | 1218994.42 | 1243374.3084 | 1268241.7946 | 1293606.6305
TBM connection debt | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fully-loaded surplus (after both) | $ | 6244000 | 6660859.7339 | 968200.9866 | 1858385.9392 | 2290153.1588 | 3197065.872 | 3673805.8308 | 4169664.7668 | 4685363.3811 | 5221648.7314 | 5779295.1811 | 6359105.3814 | 6961911.2894 | 7588575.2218
DEVELOPMENT CHARGES — regional-capacity portion to the MSC | bar: 2027 to 2036
New connections — organic growth | homes | 0 | 270 | 274.05 | 278.1607 | 282.3332 | 286.5682 | 290.8667 | 295.2297 | 299.6581 | 304.153 | 308.7153 | 313.346 | 318.0462 | 322.8169
New connections — Nottawa (500 homes) | homes | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total new connections | homes | 0 | 270 | 274.05 | 278.1607 | 282.3332 | 786.5682 | 290.8667 | 295.2297 | 299.6581 | 304.153 | 308.7153 | 313.346 | 318.0462 | 322.8169
Regional-capacity DC per connection (MSC) | $ | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
Development charge revenue to MSC | $ | 0 | 1242000 | 1260630 | 1279539.45 | 1298732.5418 | 3618213.5299 | 1337986.7328 | 1358056.5338 | 1378427.3818 | 1399103.7926 | 1420090.3494 | 1441391.7047 | 1463012.5803 | 1484957.769
Net surplus INCLUDING development charges | $ | 7244000 | 8922859.7339 | 3269230.9866 | 4199133.3892 | 4671317.8606 | 7919360.205 | 6137954.9829 | 6676406.9683 | 7235450.1439 | 7815845.0926 | 8418379.9505 | 9043871.3945 | 9693165.6643 | 10367139.6212
What goes where: the MSC provides only the REGIONAL water capacity — the plant and the regional transmission backbone — so it collects the regional-capacity portion of each new connection's development charge (modelled above). The TRUNK and local distribution needed to serve the new development are the TOWN's responsibility to build, funded by the local portion of the DC — which stays with the town and is NOT counted here. (DCs are legally restricted to growth capital, so this money funds growth infrastructure / reduces borrowing rather than general operating surplus; shown added to surplus for visibility.)

## New Tecumseth
New Tecumseth — Net Benefit of Joining the MSC
Shows why "$0.62 vs $1.95" is misleading: NT's true cost today includes the debt on its own $75.6M. BLUE = editable · GREEN = linked.
ASSUMPTIONS
NT annual water volume (m³/yr) | 3500000 | Approx. today's draw (~9,600 m³/day). Committed minimum is higher — validate.
NT commodity + admin rate today ($/m³) | 0.66 | $0.62 commodity + $0.04 admin (2022 agreement).
NT plant-expansion debt ($) | 75600000 | NT's share of the $270M expansion (financing paper).
NT debt term (years) | 25 | Typical municipal debenture.
NT debt interest (%) | 4.5% | Assumption.
NT debt service ($/yr) | 5098390.5197 | Computed = debt × annuity factor.
MSC wholesale tariff ($/m³) | 1.95 | Same tariff every town pays (linked to Assumptions).
NT share of Infrastructure Dev Fund ($/yr) | 2000000 | ~$3M at maturity (financing paper); $2M used, conservative.
TODAY — GO IT ALONE (true all-in cost)
Water at commodity rate | 2310000
Debt service on its own $75.6M | 5098390.5197
NT total water cost, today | 7408390.5197
— per m³, all-in | 2.1167
UNDER THE MSC
Water at wholesale tariff | 6825000
Debt service (MSC pays it out) | 0
Less: Infrastructure Dev Fund received | -2000000
NT net water cost, under MSC | 4825000
— per m³, net | 1.3786
NET BENEFIT TO NEW TECUMSETH
Annual saving vs going it alone | 2583390.5197
— per m³ saving | 0.73811
Plus (not in the cash figures above): the $75.6M comes off New Tecumseth's balance sheet entirely, freeing its borrowing room for the roads, wastewater and growth the Province has mandated — and every future expansion becomes the utility's 40-year paper, not another NT debenture.

## Wastewater (WW chapter)
Wastewater Costs — for the Wastewater Chapter (NOT in the water model)
Placeholders for Chapter 3. Kept off the water utility P&L. The sewage main shares the Highway 26 trench with the water main, so it pays only its own pipe — the corridor works are already covered by water.
SEWAGE MAIN IN THE SHARED HIGHWAY 26 TRENCH
Shared-trench length (km) | 11 | Same corridor as the TBM water main.
Sewage pipe — incremental cost in shared trench ($/m) | 1500 | Pipe + material + extra trench width; corridor/restoration already paid by the water main.
Sewage pipe cost — shared segment ($) | 16500000 | Computed.
(compare) standalone cost, own trench ($/m) | 2200 | If built separately.
Standalone sewage pipe cost ($) | 24200000
Saving from sharing the trench ($) | 7700000
OTHER SEWAGE CONVEYANCE (placeholders)
Sewage pumping / lift station(s) ($) | 10000000 | Separate from water pumping. Placeholder — size in Ch.3.
Engineering + contingency (%) | 25%
Shared-segment sewage total ($) | 33125000
FULL WASTEWATER PICTURE (context for Ch.3)
Regional forcemain network to Thornbury ($) | 100000000 | "After the Rain" estimate — Collingwood + TBM flows west along Hwy 26. The shared segment above is PART of this.
Regional wastewater plant at Thornbury ($) | 250000000 | "After the Rain" range $200–300M. For Ch.3 sizing.
Advanced treatment — zero-pollution-outflow upgrade ($) | 200000000 | +$200M for tertiary / nutrient removal / near-zero discharge — the cleanest plant in Canada, built as a MODULAR process so capacity can be added in stages and the design replicated as a provincial template. The environmental answer to Collingwood dumping raw sewage into the bay.
NOTE: none of these figures touch the water model. They live here for the wastewater chapter. The only place wastewater affects the water model is the shared trench — which is already reflected as the "twin" credit that halves the water main's corridor cost on the Assumptions tab.
WASTEWATER OPERATING COSTS (annual) — in-house professional organization
Annual O&M to run the regional wastewater system (Thornbury plant + forcemain + lift stations), built up the same disciplined way as the water plant O&M. Like the capital above, this is kept OFF the water utility P&L — it sizes the wastewater chapter. Corporate management is the wastewater half of the same executive team the water model already splits 50/50.
Regional wastewater flow, at build-out (m³/yr) | 5500000 | ASSUMPTION — ≈15,000 m³/day (Collingwood + TBM + growth). Size in the wastewater chapter.
Plant O&M — labour ($) | 2500000 | Operators, lab, process control, supervision. Higher than water treatment — a continuous biological process.
Plant O&M — maintenance ($) | 1500000 | Parts, contracted services, aeration/membrane and equipment upkeep.
Plant O&M — other fixed ($) | 800000 | SCADA/software, insurance, building, ECA/permit compliance.
Chemicals & power ($/m³) | 0.25 | Variable. Aeration, pumping, disinfection, treatment chemicals — well above water treatment (~$0.055/m³).
Biosolids handling & disposal ($/m³) | 0.12 | Variable. Dewatering, hauling, disposal — a wastewater cost with no water-side equivalent.
Forcemain & lift-station pumping energy ($) | 1200000 | Energy to move regional flows west to Thornbury along the Hwy 26 forcemain.
Variable O&M (chemicals, power, biosolids) | 2035000 | Variable O&M = (chemicals & power + biosolids) × flow.
Corporate management & overhead — wastewater share | 3500000 | The wastewater half of the same board, executive team and overhead the water model allocates 50/50. Together the two sides carry the whole corporate cost once.
In-house wastewater O&M — total ($/yr) | 11535000 | Plant fixed + variable + pumping + the wastewater share of corporate management.
OPERATOR SCENARIO — everything at cost, one fixed service fee (e.g. EPCOR)
MSC owns and finances; the operator runs it. ALL real costs — direct O&M and the professional/shared-services layer — pass through AT COST (EPCOR's own filed methodology allocates shared services at cost, no margin). The operator's ONLY money is a single fixed service fee.
Direct O&M — at cost (pass-through) | 8035000 | Labour, maintenance, other fixed, pumping, and variable — the same real costs as in-house.
Professional & shared services — at cost (pass-through) | 3500000 | The professional/corporate layer, at cost — matching EPCOR's shared-services methodology (no margin).
Fixed service fee — operator's SOLE margin ($/yr) | 2500000 | The only money the operator makes. Set by RFP. Anchor: a fraction of the ~$15M/yr equity return EPCOR would earn if it OWNED the plant (see below) — appropriate for a no-ownership, low-capital operating contract.
MSC lean owner's oversight ($/yr) | 750000 | Contract management, board, audit — retained in-house.
Performance holdback — share of fee at risk (%) | 15% | Memo — portion of the fee at risk against effluent compliance and uptime. The contractual answer to spills.
Operator-model wastewater O&M — total ($/yr) | 14785000 | Real costs at cost + the fixed fee + owner oversight. The fee is the premium for expertise and risk transfer, without building the org.
FOR CONTRAST — what EPCOR would earn as OWNER (the COLLUS outcome), not as operator:
EPCOR allowed ROE — Edmonton water, 2025–27 (%) | 10.8% | EPCOR's own filed fair-return recommendation (40% equity / 60% debt).
Equity share of the plant + forcemain (40%) | 40% | Equity portion of the capital, per EPCOR's filed structure.
Annual equity return if EPCOR OWNED it ($/yr) | 23760000 | The surplus that would leave the region every year under an ownership transfer. As operator, the MSC keeps this — the operator gets only the fee above.
SELECTED OPERATING MODEL
Operating model (1 = in-house · 2 = operator) | 1 | Toggle. 1 = in-house build-up; 2 = contracted operator.
Selected wastewater O&M ($/yr) | 11535000 | Feeds the all-in memo below.
Operator vs in-house — annual difference ($/yr) | 3250000 | The fee + oversight premium for hiring the operator instead of building the org. Both are a fraction of the ownership return above.
MEMO — INDICATIVE ALL-IN ANNUAL COST (context for the wastewater chapter)
Rough annual scale only. The wastewater revenue and tariff are developed in Part Two.
Wastewater capital — plant + upgrade + forcemain ($) | 550000000 | Thornbury plant + regional forcemain. The shared-trench segment above is PART of the forcemain.
Wastewater debt service — 40-yr (memo, $/yr) | 29888730.6353 | Capital × the water model's 40-yr annuity factor.
Selected wastewater O&M ($/yr) | 11535000 | From the toggle above.
Indicative all-in annual cost ($/yr) | 41423730.6353 | Debt service + O&M.
None of this touches the water utility P&L. Under either operating model the MSC owns the assets, holds the balance sheet, and sets the rate — the fee keeps the operator an operator. That is the line between hiring the expertise (surplus stays here) and selling the asset (surplus leaves, as it did with COLLUS).

## Notes
Notes, Assumptions & Recommended Additions
How the model works
Model runs 2027–2040 (2027 = utility takeover / first revenue). Revenue = volume × tariff × realization. Volume grows via organic growth, Nottawa (village 2028 + 500 homes 2032), and TBM integration (full 2030). Costs are mostly fixed, so unit cost of water falls as volume rises (row 36). Edit any blue cell on the Assumptions tab and the model recalculates. (Extended from 2036 to 2040 on the same escalation and growth assumptions.)
Plant O&M — now anchored to Collingwood actuals (validated)
Collingwood's 2024 water rate study reports Water TREATMENT operating cost of ~$2.12M (2024), ~$1.59M (2025 projected), rising to ~$2.36M by 2034 — NOT the $3.5M first assumed. A new automated plant runs lean on labour, so the earlier figure was too high. The line is now built up: labour $1.0M + maintenance $0.45M + other fixed $0.25M + chemicals/power $0.055/m³ (variable) ≈ $2.1M, matching Collingwood, plus a $0.5M transmission line for the 57-km trunk and boosters the MSC operates. Every component is separately editable.
Note the model excludes Collingwood's "Water Distribution" (~$2.3M) and "Water Administration" (~$3.1M) — those are LOCAL costs that stay with each town, funded by the retail margin. The MSC (wholesale) only carries treatment + transmission.
Costs — yours vs. estimated
FROM YOU: board 10×$150k; CEO $500k; CFO/CIO/COO 3×$400k; 10 sr engineers ×$300k (management /2 shared); external engineering $500k; overhead $1M /2; plant $125M; Nottawa pipe $10M; 500 Nottawa homes in 2032; model starts 2027.
ESTIMATED / ANCHORED BY ME: plant O&M components (anchored to Collingwood 2024 rate study); transmission $0.5M; debt 4.5%/40yr; escalation 2%/yr; board allocation 50%.
Revenue — biggest refinement
New Tecumseth — RESOLVED. Under the buy-out, the MSC pays out NT's $75.6M plant debt (already inside the $125M) and NT moves onto the standard $1.95 tariff like every other town. So Billing realization stays at 100% (justified, not optimistic). NT still comes out ahead — see the "New Tecumseth" tab. Stayner is not counted (built its own well).
TBM connection (twin with wastewater)
A dedicated ~11 km transmission main (Barker plant → Mountain Road boundary) + a transfer pumping station; TBM keeps its internal network. Because the regional wastewater plant is to be at Thornbury, a wastewater main shares the same Highway 26 trench — build once, carry both — so the water side pays only half the corridor. Now built up on the Assumptions tab (twin-with-wastewater ON, terminal storage IN): ~11 km main + transfer pumping + terminal storage + 25% contingency ≈ $50M, feeding rows 40–41. Storage is deliberate — it is the reliability buffer that answers the single-pipe objection that sank the Stayner connection.
What else I would add
Capital renewal reserve; non-revenue water (~10–15%); construction-interest phasing; the Infrastructure Development Fund flow of surplus to towns; a sensitivity block; PILOT / insurance / bad-debt lines.
Bottom line
With plant O&M corrected to Collingwood's real ~$2.1M, the utility is roughly break-even to modestly positive from 2027 and builds to a healthy surplus through the early-to-mid 2030s as Nottawa and TBM connect onto mostly-fixed costs — unit cost of water falling the whole way, and positive even after the TBM capital and a renewal reserve.
Source for plant O&M: Town of Collingwood water rate study / 2024 water budget (Water Treatment line), and 2024 Annual Summary Report for volume.

## Population Projections
South Georgian Bay — Permanent Population Projections by Town, 2021–2040
Constant-CAGR projection anchored to each town's official base-year count and forecast horizon (see source column). Basis = permanent residents; The Blue Mountains excludes its large seasonal population.
Town | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | CAGR %/yr | Basis / Source
New Tecumseth | 45480 | 46356 | 47248 | 48158 | 49085 | 50030 | 50993 | 51975 | 52976 | 53996 | 55035 | 56095 | 57175 | 58276 | 59398 | 60541 | 61707 | 62895 | 64106 | 65340 | 1.93 | Simcoe County Land Needs Assessment (Hemson, 2022), Table 11 — 2021 & 2051 forecast population.
Collingwood | 25470 | 25912 | 26362 | 26820 | 27286 | 27760 | 28242 | 28732 | 29231 | 29738 | 30255 | 30780 | 31315 | 31858 | 32412 | 32974 | 33547 | 34130 | 34722 | 35325 | 1.74 | Simcoe County Land Needs Assessment (Hemson, 2022), Table 11 — 2021 & 2051 forecast population.
Wasaga Beach | 25480 | 25824 | 26172 | 26525 | 26883 | 27246 | 27614 | 27986 | 28364 | 28746 | 29134 | 29527 | 29926 | 30329 | 30739 | 31153 | 31574 | 32000 | 32431 | 32869 | 1.35 | Simcoe County Land Needs Assessment (Hemson, 2022), Table 11 — 2021 & 2051 forecast population.
Clearview | 15220 | 15404 | 15590 | 15778 | 15969 | 16162 | 16357 | 16555 | 16755 | 16957 | 17162 | 17369 | 17579 | 17791 | 18006 | 18224 | 18444 | 18667 | 18892 | 19120 | 1.21 | Simcoe County Land Needs Assessment (Hemson, 2022), Table 11 — 2021 & 2051 forecast population.
The Blue Mountains | 9390 | 9592 | 9799 | 10010 | 10226 | 10446 | 10671 | 10901 | 11136 | 11376 | 11621 | 11871 | 12127 | 12389 | 12656 | 12928 | 13207 | 13491 | 13782 | 14079 | 2.15 | 2021 Census permanent population (9,390); 2046 permanent forecast ~16,000 (Grey County growth strategy, per TBM Council reporting). Excludes large seasonal population.
TOTAL (4 MSC partners + NT) | 121040 | 123088 | 125171 | 127291 | 129449 | 131644 | 133877 | 136149 | 138462 | 140813 | 143207 | 145642 | 148122 | 150643 | 153211 | 155820 | 158479 | 161183 | 163933 | 166733

## Charts
South Georgian Bay MSC — Water Utility: Key Charts